|  | .......... Pcs €.................. €.................. Surface housing e.g. for installation of cap rail power supplies or other electronic cap rail components with the max. dimensions of approx 119 x 93 x 55 mm. Aesthetic design. Technical data: Plastic casing white, cascading Cable feed surface or floating Design: Dimensions W x H x D [mm]: approx. 193 x 130 x 82 |
| --- | --- |